Questionnaire	date: "	"	20

Order of synchronous electric motor type:

(Specify the type of ordered electric motor)

ATTENTION! Designed by customer questionnaire is a legal document at a resolution of controversial issues in delivery and claims. The questionnaire must be signed, and have a date stamp.

Company:

Location:

|  | Position: |  |  |  |  | E-mail: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The contact | FULL NAME: |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Date of completion: " " |  |  |  | 20 |  |

The purpose of the order of the equipment:

New construction

Basic data of ordered motor:

replacement	manufacturing number _____ year of production

(Specify the brand of the electric motor to be replaced)

installation on existing concrete monumental foundation

installation on base frame of available engine

| Rated power: |  | kW |  |
| --- | --- | --- | --- |
| Rated Speed: |  | rpm | amount of poles |
| Rated voltage (Un): |  | V |  |

| Deviation from Un voltage: |  | standard, +5% |  |  |  |  |  |  |  | Other: from - |  |  |  |  |  |  |  |  |  |  | % to + |  |  |  |  |  | % |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Nominal frequency of network: |  | standard, 50 Hz |  |  |  |  |  |  |  | other |  |  |  |  |  | Hz power |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Power factor (cos φ): |  | standard, cos φ = 0,9 |  |  |  |  |  |  |  | other cos φ = |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Mode operation: |  | standard, S1 |  |  |  |  |  |  |  | other |  |  |  |  |  | , PT |  |  |  |  | % |  |  |  |  |  |  |  |  |  |  |
|  |  | standard (Y, "Star") |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stator winding connection scheme: |  |  |  |  |  |  |  |  |  | triangle (∆) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Required insulation class: |  | standard "F" |  |  |  |  |  |  |  | other |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | (with using the class B) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| The design performance of engine: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Degree |  | standard (IP21) |  |  |  |  |  | IP44 (or IP43) |  |  |  | IP00 |  |  |  |  |  |  |  |  |  | Other IP |  |  |  |  |  |  |  |  |  |
| Estimated method of cooling for engines with IP43 or IP44 degree of protection: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Open-cooling cycle: |  |  |  |  |  |  | The closed refrigeration cycle (with water): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No data | ICA11 / IC1A1 | ICA17 / IC1A7 |  |  |  |  |  | ICW37A91 / IC9A1W7 |  |  |  |  |  | ICW37A81 / IC8A1W7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ICA37 / IC3A7 |  |  |  |  |  |  | ICW37A97 / IC9A7W7 |  |  |  |  |  | ICW37A86 / IC8A6W7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| The need to supply external water air cooler (for |  |  |  |  |  |  |  | standard (not required) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| installation outside of engine): |  | IM 7311 (IM 7312) |  |  |  |  |  | is required |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Installation design: |  |  |  |  |  |  |  |  |  | IM 7621 (IM 7622) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | IM 7321 (IM 7322) |  |  |  |  |  |  |  | other, IM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| The dimension of slide |  | No data |  |  |  |  |  | running end side ( |  |  |  |  |  |  |  |  |  |  |  |  | ) × ( |  |  |  |  |  |  |  | ) mm |  |  |
| bearings: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | slip ring side: ( |  |  |  |  |  |  |  |  |  | ) × ( |  |  |  |  |  |  |  |  | ) mm |  |  |  |  |
| Lubrication of slide bearings: |  | ring |  |  |  |  |  |  |  | combined |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| The need to supply external oil |  |  |  |  |  |  |  |  |  | standard (no, not required) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| station for bearings: |  |  |  |  |  |  |  |  |  | required |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| The running end of shaft (number): |  | standard (1 shaft end) |  |  |  |  |  |  |  | Special (2 end) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Running end of shaft (dimensions): diameter |  |  |  |  |  | mm |  |  |  | no data |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | length |  |  |  |  | mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| * Rotation direction: |  | right |  |  |  |  |  | left |  |  |  |  |  |  |  |  | reverse |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Placing outlet ends of stator |  | 1 right terminal box |  |  |  |  |  |  |  | down into the foundation pit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| winding *: |  | 1 left terminal box |  |  |  |  |  |  |  | (Without terminal box) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 2 terminal boxes, right and left |  |  |  |  |  |  |  | Other: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

- Note: The view is from the running end of the shaft (the part of the drive mechanism). For engines with two shaft ends, the view is from the side opposite the slip rings.

Environmental conditions

| Climatic performance and kategory | standard (UHL4) |  |  | other |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| according to ISO 15150 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | standard for UHL4 |  |  | other: from - |  |  |  |  |  |  |  |  |  | ° C to + |  |  |  |  |  | ° |  |  |
| Ambient temperature: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | (From + 1 ° C to + 40 ° C) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Relative humidity: | standard for UHL4 |  |  | other |  |  |  |  | % at + |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | (No more than 80% at 25 ° C) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height above sea level: | Standard (up to 1000 m) |  |  | other |  |  |  |  |  |  | m |  |  |  |  |  |  |  |  |  |  |  |
| aggressive environment presence: |  |  |  |  | ; content% |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (Corrosive atmosphere, solutions of acids, alkalis, conductive dust) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stator Temperature Control: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resistance thermometers (TC) | NSH 50M |  |  | NSH Pt' 100 (100П) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| with NSH: | NSH Pt100 |  |  | other: NSH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| compounds scheme: | 2-wire |  | 3-wire |  |  |  |  |  |  |  |  | 4-wire |  |  |  |  |  |  |  |  |  |  |
| Number of vehicle: | standard |  |  | Other: Cu |  |  |  |  |  |  |  |  | pcs. + Fe |  |  |  |  |  |  | psc. |  |  |
| Bearing Temperature Control: | (Cu - 6 pc .; Fe - 3 pcs.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Resistance thermometers (TC)

with NSH:

Number of vehicles:

Barometric showing TKP-160Cr

drive mechanism

| NSH 50M | NSH Pt' 100 (100П) |  |  |  |
| --- | --- | --- | --- | --- |
| NSH Pt100 | other: NSH |  |  |  |
| standard: | Other: |  |  |  |
| each bearing - 1 pcs. | each bearing - for |  |  | psc. |
| standard (not required) | Yes, needed |  |  |  |

| Type of drive mechanism: | pump | pump for abrasive slurries (precoat pump); |
| --- | --- | --- |
| constant current generator | compressor | mill (cement, grind etc.) |
|  | fan | other |

| Mark (size) of drive mechanism: |  |  |  |  |  |  |  |  |  | year of issue |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Manufacturer: |  |  |  |  |  |  |  |  |  |  |  |  |
| Moment of inertia (J) or swing |  | J = |  |  |  |  |  |  | kg*m² | No data |  |  |
| moment of the drive mechanism (GD²): |  | GD2= |  |  |  |  |  | kg*m2 |  |  |  |  |
| Load Feature: | quadratic (M ~ n²) |  |  |  |  | linear (M ~ n) |  |  |  | constant (M = const) |  |  |
| Average static torque resistance mechanism |  | Standard pumps: 0.4 Mnom |  |  |  |  |  |  |  |  |  |  |
| for start-up *: |  | Standard for mills: 0.8 Mnom |  |  |  |  |  |  |  |  |  |  |
| No data |  | other: |  |  |  |  | Mnom. |  |  |  |  |  |

- Note: It is recommended to provide the time dependence of the resistance mechanism of the engine speed for the entire start-up period.

| The type and brand of used coupling half: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Weight is placed on the working end of the shaft |  |  |  |  |  |  |
| coupling half: |  | kg | No data |  |  |  |
| Mass countershaft (Engine drive industrial fans) |  |  |  |  |  |  |
|  |  | kg | No data |  |  |  |
| Axial forces transmitted to the motor bearings of | standard (not transmitted) |  | another (passed): |  |  |  |
| the mechanism: |  |  | - in the direction of the pump: |  |  | kg |
|  |  |  | - away from the pump: ___________kg |  |  |  |

speed control

requires speed control

Speed control range:

Estimated time of work on minimum speed

Need for additional configuration of the engine:

|  | Does not require speed control |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| from | rpm |  | before |  |  | rpm |
| _______minutes per hour; |  |  |  |  |  | hours per day; |
|  | encoder type |  |  |  |  | forced motor cooling fan |
|  | tachogenerator |  |  |  |  |  |
|  | rotor position sensor |  |  |  |  |  |

start-up procedures

| Engine start with mechanism: |  | Idling start |  |  |  |  |  |  |  | load start |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Starting |  | straight |  |  |  |  |  |  |  | frequency converter (inverter) |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | voltage converter |  |  |  |  |  |  |  |  |  |  |
| Desired multiplicity initial starting torque of engine |  |  |  |  |  |  |  |  |  | _____Mnom |  |  |  |  |  |  |  |  |  |  |
| (In relative terms): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| starting current limitation (in relative terms): |  |  |  |  |  |  |  |  |  |  | Inom |  |  |  |  |  |  |  |  |  |
| nom size falling supply voltage at direct engine start |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (percentage of nominal value) based on electric power |  |  |  |  |  |  |  |  |  |  | % Unom |  |  |  |  |  |  |  |  |  |
| and their status on-site: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Projected number of starts |  | cold |  |  |  |  |  |  |  | hot |  |  |  |  |  |  |  |  |  |  |
| day / month: |  | / |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  |  |  |
| exciter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| exciter supply |  |  |  |  | required |  |  |  |  |  | not required |  |  |  |  |  |  |  |  |  |
| Type of agent (preferred for |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Consumer) and manufacturer: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Required degree of protection of pathogen: |  |  |  |  | IP21 |  |  |  |  |  |  | IP54 |  |  |  |  |  |  |  |  |
| Needed power supply: |  |  |  |  | -220V |  |  |  |  |  | ~220 V, 50 Hz |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Other: - |  |  |  | V |  | Other: ~ |  |  |  |  | V, |  | Hz |  |  |
| engine management: |  |  |  |  | local |  |  |  |  |  |  | distance |  |  |  |  |  |  |  |  |
| Required network interface: |  |  |  |  | Profibus DP |  |  |  |  |  | Other: |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Modbus TCP |  |  |  |  |  | Not required |  |  |  |  |  |  |  |  |  |
| Required telemetry: |  |  |  |  | RS-232 |  |  |  |  |  | Not required |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | RS-485 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assumed exciter with soft starter or frequency converter: |  |  |  |  | Yes |  |  |  |  |  |  | no |  |  |  |  |  |  |  |  |
| Current transfer ratio at customer’ high voltage unit |  |  |  |  |  | / 5 A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Spare parts

standard: brush EG4-25x32x64

Size and mark the desired brush:

other: brand brush	dimensions

Required delivery of expanded spare parts:

Required expanded spare parts (Based on the engine 1):

Operational documentation (OD)

| required |  |  |  |  |  | not required |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| plain bearings - |  |  |  |  |  |  |  | psc. |  |
| labyrinth seal (oil trap) - |  |  |  |  |  |  |  |  | psc. |
| Oil-lubricated ring - |  |  |  |  |  |  | psc. |  |  |
| brush - |  | psc. |  |  |  |  |  |  |  |
| brush holder - |  |  |  |  |  | psc. |  |  |  |

|  |  | Standard: 1 pcs. on paper |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Number of copies of OD |  | Other: |  | psc. on paper |  |  |  |
|  |  | Other: |  | psc. on an electronic medium (CD-ROM) |  |  |  |
| Language design OD |  | Ukrainian |  |  | English |  |  |
|  |  | Russian |  |  | other: |  |  |

Completeness of delivery (motors for installation on existing foundation beams engine)

Supply anchoring reinforcement (foundation bolts, nuts, washers, plates):

Delivery of foundation beams:

Delivery of enclosures slide bearings:

Signature of the responsible official person ordering the enterprise:

| required | not required |
| --- | --- |
| required | not required |
| required | not required |

L.S.